| Note to our customers: Please use this form to supply your specification data and submit the completed form to your Tranter Sales Representative. | PH: 940-723-7125 FX: 940-723-1131 |
| --- | --- |

SPECIFICATION SHEET

| Customer | Date |
| --- | --- |
| Attention | Plant Location |
| Street | City/State Zip |
| Item No. | Phone No. |
| Fax No. | Project No. |
| Project Reference Description |

| Application Model |
| --- |
| Number of Units No. Plates/Unit Connected in Series Parallel |
| Total Surface Sq.Ft. Surface Per Unit Sq.Ft. |
| PERFORMANCE | HOT SIDE | COLD SIDE |
| Fluid Circulated |  |  |
| Total Flow Rate |  |  |
| Specific Heat | Btu/(lb)°F | Btu/(lb)°F |
| Specific Gravity |  |  |
| Thermal Conductivity | Btu/(hr)(ft)°F | Btu/(hr)(ft)°F |
| Viscosity (at 2 temps) | cp@ °F cp@ °F | cp@ °F cp@ °F |
| Temperature In | °F | °F |
| Temperature Out | °F | °F |
| Pressure Drop | psi | psi |
| Operating Pressure | psig | psig |
| Heat Exchanged | Btu/hr |
| CONSTRUCTION |
| Design Pressure |
| Test Pressure | Code Requirements: ASME ABS DNV _______________Other |
| Design Temperature | Type of Connection: Flanged Studded Port Pipe |
| MATERIAL |
| Gaskets: |
| Nozzles: |
| Frame: |
| Plates: |

REMARKS:

SUPERCHANGER performance is conditioned on the accuracy of the data presented and the customer’s ability to supply equipment and product conformance with the above.